## Export Summary
This document was exported from Numbers. Each table was converted to an Excel worksheet. All other objects on each Numbers sheet were placed on separate worksheets. Please be aware that formula calculations may differ in Excel.
Numbers Sheet Name | Numbers Table Name | Excel Worksheet Name
Sheet 1
| Xenium outputs | Sheet 1 - Xenium outputs
Sheet 2
| Experiment file | Sheet 2 - Experiment file
Sheet 3
| Cell summary | Sheet 3 - Cell summary
Sheet 4
| Cell boundary polygons | Sheet 4 - Cell boundary polygon
Sheet 5
| Transcript data | Sheet 5 - Transcript data
Sheet 6
| Cell-feature matrix | Sheet 6 - Cell-feature matrix

## Sheet 1 - Xenium outputs
Xenium outputs
File type | File and description | Read by Xenium Explorer | Description detailed | Raw files for new segmentation and change transcript Q-score threshold | Xenium Ranger input (relabel and resegment)
Experiment file | experiment.xenium: Experiment manifest file. | X | See Sheet 2 |  | X
Interactive summary | analysis_summary.html: Summary metrics, graphs, and images to QC your run data in HTML format. | X | / |  | X
Image files | morphology.ome.tif: The 3D nuclei-stained (DAPI) morphology image in OME-TIFF format. | X | The morphology.ome.tif is a 3D Z-stack of the DAPI image that can be useful to resegment cells, assess segmentation quality, and view data. DAPI image processing is described here. | X | X
| morphology_focus/: A directory containing the multi-focus projection of morphology image(s) in a multi-file OME-TIFF format (2D). The directory will contain the nuclei DAPI stain image, as well as three additional stain images for Xenium outputs generated with the multimodal cell segmentation assay workflow. | X | The morphology_focus/ directory contains the 2D autofocus projection images for the nuclei DAPI stain image, as well as three additional stain images for Xenium outputs generated with the multimodal cell segmentation assay workflow. These files are in multi-file OME-TIFF format. They each contain a pyramid of images including full resolution and downsampled images. The image order is specified in OME-XML metadata. morphology_focus_0000.ome.tif: DAPI image morphology_focus_0001.ome.tif: boundary (ATP1A1/E-Cadherin/CD45) image morphology_focus_0002.ome.tif: interior - RNA (18S) image morphology_focus_0003.ome.tif: interior - protein (alphaSMA/Vimentin) image | X | X
Cell summary | cells.csv.gz: Cell summary file. |  | See Sheet 3
| cells.parquet: Cell summary file in Parquet format. |  | Same as cells.csv.gz
Cell segmentation masks and polygons | cells.zarr.zip: Cell summary file in zipped Zarr format, only file that contains the nucleus and cell segmentation masks and boundaries used for transcript assignment. | X | / |  | X
Cell boundary polygons | cell_boundaries.csv.gz: Cell boundary file. |  | See Sheet 4
| cell_boundaries.parquet: Cell boundary file in Parquet format. |  | Same as cell_boundaries.csv.gz
Nucleus boundary polygons | nucleus_boundaries.csv.gz: Nucleus boundary file. |  | See Sheet 4
| nucleus_boundaries.parquet: Nucleus boundary file in Parquet format. |  | Same as nucleus_boundaries.csv.gz
Transcript data | transcripts.parquet: Transcripts data in Parquet format. |  | See Sheet 5
| transcripts.zarr.zip: Transcript data in zipped Zarr format. | X | Same as transcripts.parquet | X | X
Cell-feature matrix | cell_feature_matrix/: Directory of the cell-feature matrix files in Market Exchange format. |  | The Xenium onboard analysis pipeline outputs a cell-feature matrix (cell_feature_matrix) in three file formats: the Market Exchange Format (MEX), the Hierarchical Data Format (HDF5), and the Zarr format. The matrices only include transcripts that pass the default quality value (Q-Score) threshold of Q20 and are assigned to cells.
| cell_feature_matrix.h5: Cell-feature matrix file in HDF5 format. |  | See Sheet 6
| cell_feature_matrix.zarr.zip: Cell-feature matrix file in zipped Zarr format. | X | Same as cell_feature_matrix.h5
Metric summary | metrics_summary.csv: Summary of key metrics. |  | The Xenium onboard analysis pipeline outputs key metrics in text format as metrics_summary.csv. This file contains metrics that are useful for assessing decoding and cell segmentation quality. |  | X
Secondary analysis | analysis/: Directory of secondary analysis results. |  | The Xenium onboard analysis pipeline outputs an analysis/ directory with subdirectories containing several CSV files, which store the automated secondary analysis results. A subset of these results is used to render the Analysis tab in the Analysis summary file. The subdirectories correspond to: Clustering (clustering/) with graph-based and K-means results. Graph-based clustering (under graphclust) is run once as it does not require a pre-specified number of clusters. K-means (under kmeans) is run for K=2..N where K corresponds to the number clusters, and N=10 by default. Each value of K has its own results directory. Differential Expression (diffexp/) with graph-based and K-means results. Under each of the subdirectories are the differential_expression.csv files, which contain the list of cluster-specific features that are differentially expressed in each cluster relative to all the other clusters. Principal Component Analysis (pca/) which contains a total of five files listing the features used in the dimension reduction i.e., to reduce the feature space. These results are used to perform clustering. UMAP (umap/) contains the Uniform Manifold Approximation and Projection results.
| analysis.zarr.zip: Secondary analysis outputs in zipped Zarr format. | X | Same as analysis/
Gene panel | gene_panel.json: Copy of input gene panel file. |  | The gene_panel.json file is a copy of the gene panel file used in the experiment on the Xenium Analyzer instrument (Xenium Panel Designer tool). |  | (X)
Auxiliary data (aux_outputs/) | morphology_fov_locations.json: Field of view (FOV) name and position information (in microns). overview_scan_fov_locations.json: FOV name and position information (in pixels). per_cycle_channel_images/: Directory of downsampled RNA image files in TIFF format from each cycle and channel. overview_scan.png: Full resolution image of entire slide sample. background_qc_images/: Directory of autofluorescence images (downsampled, TIFF format) that are subtracted from the raw stain images to produce the morphology_focus/ images if Cell Segmentation Staining protocol used. |  | The morphology_fov_locations.json file contains the field of view (FOV) name, height, width, and XY positions in the space of the region of interest's (ROI) morphology image. This is the same space used to compute transcript and cell locations and the units are in microns. The FOVs have 3,520 rows and 2,960 columns with 128 pixels of overlap on each edge (this may change in future versions of the Xenium platform). The position information is useful for determining where FOV boundaries are to assess transcript deduplication and any FOV edge effects. The overview_scan_fov_locations.json file contains the FOV name, height, width, and approximate XY positions in the space of the overview scan image. This is the space that contains all the ROIs and the units are in pixels. The accuracy of the ROI coordinates have a 5 - 10 µm error. This position information is useful for approximating where multiple ROIs are located on an overview scan image. The per_cycle_channel_images/ directory contains downsampled 2D RNA images (maximum intensity projection) from each cycle and channel (not the morphology stain images). These images may be helpful for troubleshooting analysis summary alerts or unexpected metrics and analysis results. The overview_scan.png is the full-resolution (1672 x 3498 pixels) image of the entire sample on the slide. The background_qc_images/ directory contains the autofluorescence images (downsampled, TIFF format) that are subtracted from the raw morphology stain images to produce the autofocused images (morphology_focus/) if Cell Segmentation Staining protocol used:

## Sheet 2 - Experiment file
Experiment file
Field | Description
major_version | Indicates major version of analysis output file formats read by Xenium Explorer
minor_version | Indicates minor version of analysis output file formats read by Xenium Explorer
patch_version | Patch version of analysis output file formats read by Xenium Explorer
run_name | User-specified Run Name entered on instrument
run_start_time | Instrument run start time
region_name | User-specified name for region selected on instrument
preservation_method | User-specified sample preservation method
num_cells | Cells detected by Xenium Onboard Analysis pipeline
transcripts_per_cell | Median transcripts per cell calculated by Xenium Onboard Analysis pipeline
transcripts_per_100um | Transcripts per 100 µm2 calculated by Xenium Onboard Analysis pipeline
region_area | Total area of imaged field of views (FOVs)
total_cell_area | Summed area of detected cells
thickness_of_high_quality_decoded_transcripts | Width in Z of high-quality transcripts measured in microns
non_zero_matrix_entries | Number of nonzero entries in the sparse CSC cell-feature matrix in the cell_feature_matrix.zarr.zip file
nuclear_transcripts_per_100um | Number of high-quality, decoded-to-gene nuclear transcripts divided by the total segmented nuclear area
num_transcripts | Total number of transcripts including low-quality transcripts
num_transcripts_high_quality | Total high quality decoded transcripts (≥ Q20)
fraction_transcripts_assigned | Percent of high-quality transcripts that are found within cells
segmented_cell_stain_frac | Sum of segmented_cell_boundary_frac and segmented_cell_interior_frac
segmented_cell_boundary_frac | Number and percent of cells where the cell segmentation boundary is derived from the boundary stain
segmented_cell_interior_frac | Number and percent of cells where the boundary is from expansion of the nucleus using interior stain information
segmented_cell_nuc_expansion_frac | Number and percent of cells where the boundary is an isotropic expansion from the nucleus boundary
imported_cell_frac | Fraction of cells that were imported by Xenium Ranger import-segmentation
cassette_name | User-specified Xenium Cassette Name entered on instrument
slide_id | User-specified Xenium Slide ID entered on instrument
panel_type | Panel type specified by the gene_panel.json file ("Predesigned", "custom", or "add_on")
panel_design_id | Panel design ID specified by panel selection on instrument (additionally panel_predesigned_id is included for add-on custom panel designs)
panel_designer_version | Xenium Panel Designer software version used for the custom panel design
panel_name | Panel name specified by panel selection on instrument
panel_organism | Sample organism specified by selected gene panel
panel_tissue_type | User-specified tissue type selected on instrument
panel_num_targets_predesigned | Number of gene targets from the pre-designed gene panel
panel_num_targets_custom | Number of gene targets from add-on custom panel if included in panel design
chemistry_version | Assay chemistry specified by the gene_panel.json file ("v1" = Xenium v1, "v2" = Xenium Prime)
pixel_size | Pixel size in the morphology.ome.tif image file (in µm)
instrument_sn | Xenium Analyzer instrument serial number
instrument_sw_version | Version of the Xenium Analyzer firmware used during analysis run
analysis_sw_version | Version of Xenium Onboard Analysis pipeline used to analyze data
analysis_uuid | Instrument metadata
experiment_uuid | Instrument metadata
cassette_uuid | Instrument metadata
roi_uuid | Instrument metadata
z_step_size | Z-step size (in µm) used for subsampling the morphology.ome.tif image Z-stacks
well_uuid | Instrument metadata
calibration_uuid | Instrument metadata
images | Specifies the file paths to the morphology image files; used by Xenium Explorer to find input files
xenium_explorer_files | Specifies the file paths to transcript, cell, secondary analysis, and analysis summary files; used by Xenium Explorer to find input files
segmentation_stain | Specifies the stain method selected on instrument for cell segmentation ("Xenium Multi-Tissue Stain" or "Nuclei (DAPI)").
xenium_ranger | If the data was reanalyzed with Xenium Ranger, this section specifies the run_id, Xenium Ranger version, and commands used to analyze the data.

## Sheet 3 - Cell summary
Cell summary
Column Name | Description
cell_id | Unique ID of the cell, consisting of a cell prefix and dataset suffix
x_centroid | X location of the cell centroid in µm
y_centroid | Y location of the cell centroid in µm
transcript_counts | Molecule count of gene features with Q-Score ≥ 20
control_probe_counts | Molecule count of negative control probes
genomic_control_counts | Count of genomic control codewords (for Xenium Prime data)
control_codeword_counts | Count of negative control codewords
unassigned_codeword_counts | Count of unassigned codewords
deprecated_codeword_counts | Count of deprecated codewords
total_counts | Sum total of transcript_counts, control_probe_counts, control_codeword_counts, genomic_control_counts (for Xenium Prime data), and unassigned_codeword_counts
cell_area | The two-dimensional area covered by the cell in µm2
nucleus_area | The two-dimensional area covered by the nucleus in µm2
nucleus_count | Count of detected nuclei
segmentation_method | Cell segmentation method

## Sheet 4 - Cell boundary polygon
Cell boundary polygons
Column Name | Description
cell_id | Unique ID of the cell, consisting of a cell prefix and dataset suffix
vertex_x | X-coordinate of the boundary point in µm
vertex_y | Y-coordinate of the boundary point in µm
label_id | A nonzero number corresponding to the segmentation mask pixel value

## Sheet 5 - Transcript data
Transcript data
Column Name | Description
transcript_id | Unique ID of the transcript
cell_id | Unique ID of the cell, consisting of a cell prefix and dataset suffix
overlaps_nucleus | Binary value to indicate if the transcript falls within the segmented nucleus of the cell (1) or not (0)
feature_name | Gene or control name
x_location | X location in µm
y_location | Y location in µm
z_location | Z location in µm
qv | Phred-scaled quality value (Q-Score) estimating the probability of incorrect call
fov_name | Name of the field of view (FOV) that the transcript falls within
nucleus_distance | The distance between the transcript and the nearest nucleus boundary in µm based on segmentation mask boundaries. The nearest nucleus may not necessarily belong to the cell that the transcript is assigned to. Transcripts localized within the nucleus have a distance of 0.0 µm.
codeword_index | An integer index for each codeword used to decode transcripts (same value as codewords in the gene_panel.json file).
codeword_category | Codeword category
is_gene | Boolean value to indicate whether transcript feature is "Gene Expression" or not.

## Sheet 6 - Cell-feature matrix
Cell-feature matrix
Column Number | Description
1 | Ensembl ID for panel and add-on genes
2 | Gene name for panel and add-on genes
3 | Feature type (i.e., Gene Expression, Negative Control Codeword, Negative Control Probe, Genomic Control, Unassigned Codeword, Deprecated Codeword).